RNA Harvest

Add 200 uL of input sample to MagMAX™ Viral/Pathogen II (MVP II) Nucleic Acid Isolation Kit (Thermofisher, A48383)

Run on Thermofisher Kingfisher extraction machine

Elute in 50uL Elution Buffer

For all downstream wetwork, we utilize the NEBNext ARTIC SARS-CoV\_2 Library Prep Kit (Illumina) from NEB, E7650L

We use our RSVA of RSVB V2.1 primers in place of the kit provided primer sets.